| Calculation of Audit Person Days for Medical Devices Management Systems |  |
| --- | --- |
| Standard or certification scheme | ISO 13485:2016 |
| Audit Duration Table (Table 1): | Relationship between effective number of personnel and audit duration (Initial Audit only). IAF MD9 Annex D # Effective Number of Personnel; # Audit Duration Stage 1 + Stage 2 (days); Effective Number of Personnel; # Audit Duration Stage 1 + Stage 2 (days). 1-5; 3; 626-875; 15. 6-10; 4; 876-1175; 16. 11-15; 4.5; 1176-1550; 17. 16-25; 5; 1551-2025; 18. 26-45; 6; 2026-2675; 19. 46-65; 7; 2676-3450; 20. 66-85; 8; 3451-4350; 21. 86-125; 10; 4351-5450; 22. 126-175; 11; 5451-6800; 23. 176-275; 12; 6801-8500; 24. 276-425; 13; 8501-10700; 25. 426-625; 14; >10700; Follow progression above. |
| Factors affecting audit duration | ### Indicative factors for increase of M/D - number of ranges and/or complexity of medical devices - manufacturers using suppliers to supply processes or parts that are critical to the function of the medical device and/or the safety of the user or finished products, including own label products. When the manufacturer cannot provide sufficient evidence for conformity with audit criteria, then additional time may be allowed for each supplier to be audited - manufacturers who install product on customer’s premises Note: Time may be required for customer site visits or installation records review - poor regulatory compliance by the manufacturer - multiple shifts, number of production lines etc. may increase audit duration ### Any additional time required to audit national or regional regulatory requirements and dossier reviews must be justified. ### Indicative factors for decrease of M/D. ### Decrease of audit time cannot be more than 20% in total from the values given in Table 1. - the organization’s scope does not include manufacturing and is activities such as wholesale, retail, transportation or maintenance of equipment, etc. - reduction of the manufacturer product range since last audit - reduction of the design/or production process since last audit - audits performed solely for the certification scope of Distribution or transportation services may be reduced up to 50% from the values given in Table 1. |
| Integrated ISO 9001 and ISO 13485 audits | ### When determining the required time for conducting an ISO 9001 and ISO 13485 audit together, a minimum of 25% will be added to the minimum number of audit days calculated of Table 1. Conditions where additional time may be required include differences in scope, effective number of personnel, etc. |